# DiffractionImage Library (CCP4: Library)

## NAME

diffImage - CCP4 Diffraction Image Handling Library

## DESCRIPTION

diffImage contains a set of C++ classes to handle different diffraction image format. The library is organised in a generic classe "DiffractionImage" that internally handle all the formats by using specific methods dedicated to each format.

## Contents of this file

- General information

- Supported Image Formats

- Using the DiffractionImage Object

- Using the DiffractionImage Tcl-Tk, Java and Python Modules

- Classes Description

- Examples of programs

## General Information

The Diffraction Image was originally part of XIA-DPA automation project and is still used by it. However, it has been decided to include this library with the other CCP4 core libraries because of a wider possible interest among the comunity.

Even if the library contains several different files implementing similar methods for different types of images it has been designed so that you only need to use a single object. This object will perform internal checks and will load the data according to the image types. Then accessing any information, is done in a single way on this general object therefore hiding the unnecessary complexity of the internal loading.

The classes comes with a Tcl, Java and Python modules available so that the library can be used with these languages as well.

The library also contains the a PeakList object that can be populated with the peaks found on particular images.

## Supported Detectors

Currently the following detector/image format are implemented in this library:

- ADSC

- MAR/MARCCD

- RIGAKU

- CBF/MINI-CBF

- BRUKER

- OXFORD-DIFFRACTION

## Using the Diffraction Image Object

Firstly, below is the description of the classes from the Diffraction Image library, there are only two classes / objects availables which make things a lot simple to use.

The are different ways for initialising a diffraction Image Object. Which one is more appropriate mainly depends on what you want to do.

- You can create an empty object and load an image in the object via the

load

method.

- You can create an object giving the filename as a parameter to have everything already loaded (i.e. header and image).

- You can create an object and only load the header via the

loadHeader

method. This is useful if you just need to access information from the header.

## Using the Diffraction Image Tcl-Tk, Java and Python Modules

Firstly, you need to load or import the module. In tcl, this is done with

load DiffractionImage.[ext]

Where [ext] is so, dll, or dylib depending on your platform. In Python, you need to import the class definition that is in the Diffraction.py file with the command.

from DiffractionImage import *

In Java, just as in tcl you need to import the shared library with the command

System.loadLibrary("DiffractionImaJ");

Note that you do not need to add the dll/so/dylib extension, nor do you need to add the "lib" prefix that is part of the shared library filename. N.B.: Make sure that the tcl module is not at the same place as DiffractionImage.py file otherwise python will try to use the shared library instead of the python file.

Next you need to create an "object" to work with. In tcl this is done with one the following syntax

set mydiffractionimage [new_DiffractionImage]

or

set mydiffractionimage [new_DiffractionImage filename]

where mydiffractionimage is the name of the tcl variable you want to use as a pointer and where filename is the name of the diffraction image file. Any function call on the diffraction image can then be done with the following syntax

set returnval [$mydiffractionimage functionname functionargs]

where returnval is the possible return value of the function, functionname the name of the function and functionargs a list of all its arguments.

In Python the creation of the object is done with one of the following syntax

mydiffractionimage = DiffractionImage()

or

mydiffractionimage = DiffractionImage(filename)

Any other function call is then done with the following syntax.

returnval=mydiffractionimage.functionname(arg1,...,argn)

Where arg1 to argn are the arguments of the function functionname .

In Java the creation and use of function is very similar to the C++ one.

mydiffractionimage = new DiffractionImage();

or

mydiffractionimage = new DiffractionImage(filename);

The functions calls are identical to the way you do them in C++. To finish here are three examples of how to display the diffraction image objects variables in python, java and tcl.

| if {$tcl_platform(platform) == "windows"} { load DiffractionImage.dll } else { load libDiffractionImage.so } set diff [new_DiffractionImage] $diff loadHeader "[lindex $argv 1]" set format [$diff getFormat] set epoch [$diff getDate] set exposure [$diff getExposureTime] set SN [$diff getSerialNo] set wl [$diff getWavelength] set BeamX [$diff getBeamX] set BeamY [$diff getBeamY] set dist [$diff getDistance] set width [$diff getWidth] set height [$diff getHeight] set pixX [$diff getPixelX] set pixY [$diff getPixelY] set oscS [$diff getOscStart] set oscE [$diff getOscEnd] set oscAx [$diff getOscAxis] set twoTheta [$diff getTwoTheta] puts "Image type: $format \nExposure Epoch: $epoch" puts "Exposure Time: $exposure \nDetector S/N: $SN" puts "Wavelength: $wl \nBeam Center: ($BeamX, $BeamY)" puts "Distance to detector: $dist" puts "Image size: ($width px, $height px)" puts "Pixel size: ($pixX mm, $pixY mm)" puts "Oscillation($oscAx): $oscS -> $oscE" if {$twoTheta > 0} { puts "Two theta value: $twoTheta\n" } else { puts "Two theta value (not in header): 0.0\n" } | from DiffractionImage import * import sys diff=DiffractionImage() diff.loadHeader(sys.argv[1]) print "Image type: ",diff.getFormat() print "Exposure Epoch: ",diff.getDate() print "Exposure Time: ",diff.getExposureTime() print "Detector S/N: ",diff.getSerialNo() print "Wavelength: ",diff.getWavelength() print "Beam Center: (",diff.getBeamX(),", ",diff.getBeamY(),")" print "Distance to Detector: ",diff.getDistance() print "Image size : (",diff.getWidth()," px, ",diff.getHeight()," px)" print "Pixel size : (",diff.getPixelX()," mm, ",diff.getPixelY()," mm)" print "Oscillation(",diff.getOscAxis(),") : ",diff.getOscStart()," -> ",diff.getOscEnd() if diff.getTwoTheta() > 0 : print "Two theta value: ", diff.getTwoTheta() else : print "Two theta value (not in header) : 0.0" |
| --- | --- |
| public class diffdump { public static void main(String[] args) { System.loadLibrary("DiffractionImaJ"); DiffractionImage diff=new DiffractionImage(); diff.loadHeader(args[0]); System.out.println("Format : "+diff.getFormat()); System.out.println("Manufacturer : "+diff.getManufacturer()); System.out.println("Collection date: "+diff.getDate()); System.out.println("Exposure Time: "+Float.toString(diff.getExposureTime())); System.out.println("Detector S/N: "+diff.getSerialNo()); System.out.println("Wavelength: "+Float.toString(diff.getWavelength()); System.out.println("Beam Center: ("+Float.toString(diff.getBeamX())+ ", "+Float.toString(diff.getBeamY())+")"); System.out.println("Distance to Detector: "+Float.toString(diff.getDistance())); System.out.println("Image size : ("+Integer.toString(diff.getWidth())+ " px, "+Integer.toString(diff.getHeight())+" px)"); System.out.println("Pixel size : ("+Float.toString(diff.getPixelX())+ " mm, "+Float.toString(diff.getPixelY())+" mm)"); System.out.println("Oscillation ("+diff.getOscAxis()+") :"+ +Float.toString(diff.getOscStart())+" -> "+ +Float.toString(diff.getOscEnd())); if(diff.getTwoTheta() >= 0) System.out.println("Two theta value: "+Float.toString(diff.getTwoTheta())); else System.out.println("Two theta value (not in header) : 0.0"); } } |  |

## Classes Descriptions

- DiffractionImage

| Method | Description |
| --- | --- |
| DiffractionImage() | Default constructor of a Diffraction Image. |
| DiffractionImage(string filename) | Create and load everything available from the image file called "filename". |
| int getWidth() | Return the width of image in pixels. |
| int getHeight() | Return the height of image in pixels. |
| float getBeamX() | Return the x position of the beam center in milimeters. |
| float getBeamY() | Return the y position of the beam center in milimeters. |
| float getWavelength() | Return the wavelength of X-Ray source in Angstroms. |
| float getDistance() | Return the crystal to detector distance in milimeters. |
| float getTwoTheta() | Return the two-theta angle used in data collection |
| float getOscStart() | Return the scanning angle at the beginning of the oscillation |
| float getOscEnd() | Return the scanning angle at the end of the oscillation |
| char* getOscAxis() | Return the name of the scanning axis |
| float getPixelX() | Return the width of a pixel in milimeters. |
| float getPixelY() | Return the height of a pixel in milimeters. |
| float getExposureTime() | Return the exposure time in miliseconds. |
| char* getFormat() | Return the image format as defined by the detector manufacturer |
| char* getManufacturer() | Return the named of the detector manufacturer. |
| char* getDate() | Return the date of the image collection using a formatted string (dd-mm-YYYY). |
| char* getSerialNo() | Return the detector serial number if available return "N/A" otherwise. |
| unsigned long * getImage() | Return a pointer to the image. |
| int getPixelAt(int x, int y) | Return the value of the pixel in position x,y on the raster image. |
| void setBeamX(float x) | Sets the x-position of the beam center in milimeters. |
| void setBeamY(float y) | Sets the y-position of the beam center in milimeters. |
| int setWidth() | Sets the width of image in pixels. |
| int setHeight() | Sets the height of image in pixels. |
| void setWavelength(float wave) | Sets the wavelength in Angstroms. |
| void setDistance(float dist) | Sets the crystal to detector distance in milimeters. |
| void setTwoTheta(float twotheta) | Sets the two-theta angle used in data collection. |
| void setOscStart(float oscstart) | Sets the value of the oscillation angle at the beginning of the oscillation |
| void setOscEnd(float oscend) | Sets the value of the oscillation angle at the end of the oscillation |
| void setOscAxis(char* oscaxis) | Sets the name of the scanning axis |
| void setPixelX(float pixelwidth) | Sets the pixel size in milimeters |
| void setPixelY(float pixelheight) | Sets the pixel size in milimeters |
| void setExposureTime(float time) | Sets the exposure time in miliseconds |
| void load(string fileName) | Load in an image from the file "filename". |
| void loadHeader(string fileName) | Load header information only from the file "filename". |
| float* assymetry(void) | Measure how "symmetric" the distribution of intensity is as a function of rotation about the beam centre |
| float* radial(int bins) | Produce a radial profile of the image with the average pixel count in each bin as the measurement, from the beam centre |
| int corner(void) | Determine whether the image is squared or round. |
| int* histogram(void) | Calculate an histogram of the pixel values encountered in the image. |
| float resolRingRadius(float resolution) | Calculate the radius of a ring in mm around the beam centre given a resolution in angstroms. |
| float resolOnRadius(float radius) | Calculate the resolution in angstroms on ring given its radius in mm around the beam centre. |
| double gain(void) | Calculate an estimation of the detector gain (under development) |
| char* autoMask(int beamX, int beamY) | Attempt to automagically generate a mask for the backstop area and the arm of the backstop. The return value is of the form "-circlemask a b c -polymask ..." where a b are the centre of the circle in pixels and c is the radius. There can be several instance of "-polymask" followed by the coordinates in pixels of the vertices of a quad. |
| void min(DiffractionImage* other) | Uses the image of the current object and the image from other to load the minimum image in the current object. The minimum image is an image where each pixel is defined as the minimum between the two corresponding pixel from the current object and other. |
| void max(DiffractionImage* other) | Uses the image of the current object and the image from other to load the maximum image in the current object. The maximum image is an image where each pixel is defined as the minimum between the two corresponding pixel from the current object and other. |
| void diff(DiffractionImage* other) | Uses the image of the current object and the image from other to load the difference image in the current object. The difference image is an image where each pixel is defined as the corresponding pixel from the current object minus the one from other. |
| void sum(DiffractionImage* other) | Uses the image of the current object and the image from other to load the sum image in the current object. The sum image is an image where each pixel is defined as the sum of the two corresponding pixel from the current object and from other. |
| void jpeg(string filename) | Write out a jpeg file, named "filename" of the same size as the image data with a quality factor of 85% |
| void jpeg(string filename,int quality) | Same as previous function but the quality factor can be specified |
| void jpeg(string filename,int quality, int zoom) | Same as previous function but the zoom level can be specified (-2 means 50%, -3 means 33%, 2 means 200%,...) |
| void jpeg(string filename,int quality, int zoom,bool optmise) | Same as previous function but you can specify whether or not to do a cycle of optimisation before writing out the image. |

- PeakList

| Method | Description |
| --- | --- |
| PeakList() | Default constructor of a empty PeakList. |
| PeakList(DiffractionImage* diffractionimage) | Construct a PeakList from the given DiffractionImage object. |
| int length() | Gives the length of the list. |
| void clear() | Clears the list. |
| void add(float x, float y, float intensity) | Add a peak the image coordinates (x,y) and with the specified intensity. |
| void remove(int offset) | Remove the Peak at the specified position in the list. |
| void add(Peak peak) | Add the specified peak to the list. |
| void find(DiffractionImage* diffractionimage) | Search for the peaks in the specified DiffractionImage object. |
| void find(DiffractionImage* diffractionimage, int maxPeaks) | Search for the peaks in the specified DiffractionImage object with a maximum of maxPeaks results. |
| void find(DiffractionImage* diffractionimage, int maxPeaks, float intensityThreshold) | Search for the peaks in the specified DiffractionImage object with a maximum of maxPeaks results having an intensity of at least intensityTreshold. |
| void reciprocal(float dist, float wave) | Convert the peak coordinates from dectetor coordinates to reciprocal space coordinates. |
| void detector(float dist, float wave) | Convert the peak coordinates from reciprocal space coordinates to detector coordinates. |
| Peak pop(int offset) | Gets the peak from the specified position and removes it from the list. |
| Peak * getPeaks() | Return the content of the PeakList as a vector of Peak. |
| int circle(int iter, float width, float& x, float& y, float& r) | Find a circle in the spot using a stochastic process and return the most promising candidate. Width determines how close to the arc a spot must be to be accepted. Iter is the number of attemps in fitting a circle. |
| int remove(float width, float x, float y, float r) | Removes the spots that were found to be on the circle fitted with the circle() method described above. |

- Peak is a structure having the following 7 fields,

  - float x : x coordinate of the peak on the image

  - float y : y coordinate of the peak on the image

  - float theta : Theta? what is theta on this context?

  - float phi : phi? what is phi on this context?

  - float kappa : kappa? what is kappa on this context?

  - float[3] p : Array containing the reciprocal spaces coordinates of the Peak

  - float intensity : Intensity of the Peak

## Programs

Currently the library provides also four simple programs called "diffdump", "printpeaks", automask and diff2jpeg. These are respectively used to display all the "standard" information of a Diffraction Image, printing the list of peaks found on the image, wrapping the Automask function from the library and converting the image data to a jpeg file. These are also simple code examples of how to use the object from the library.

printpeaks usage:

"printpeaks [-th <intensity_threshold>] <filename>"

-th is an optional keyword to specify the intensity threshold for peak searching.

diffdump usage:

"diffdump [-gain] <filename>"

-gain is an optional keyword to ask for a detector gain estimation.

automask usage:

"automask [-beam <x> <y>] <filename>"

-beam is an optional keyword to speficy the start point (in pixels coordinates) for the algorithm.

diff2jpeg usage:

"diff2jpeg [-thumbnail] <filename>"

-thumbnail is an optional keyword to ask for the creation of a thumbnail version of the image in addition to the real image The thumbnail image is created to be as near as 400x400 as possible.