## Slide 1: M.I.R.(A.S.)
S.M. Prince
U.M.I.S.T.

## Slide 2: The only generally applicable way of solving macromolecular crystal structure
No reliance on homologous structure
No reliance on recombinant material
Presence of specific residues not required
Can be combined with MR

## Slide 3: Problems
Disruption of Native structure
Comparison of native and “treated” samples
Phases available only to a limited resolution (in general)
Introduction of Heavy Atom compounds is a trial and error process
Lots of crystals required

## Slide 4: Stages
1. Obtain stable mother liquor or cryo-protectant
2. Collect native
3. Soak crystals (or co-crystallize) with Heavy atom compound
4. Collect X-ray data
5. Scale soak-native and calculated difference (native-soak) Patterson map
6. Solve heavy atom sub-structure
7. Repeat 3-6 to get a different set of sites
8. Calculate phases

## Slide 5: Techniques
Be aware of properties of HA salt (eg Silver Nitrate-Cl, Mercury Iodide/KI, Platinum tetra chloride)
Crystallization conditions
Protein Chemistry
Be systematic
Soak concentrations 1-5mM, time overnight
Soak HA in last
Make native comparable
Backsoak to remove non-specific sites or manipulate existing sites

## Slide 6: Data collection
Screening can be done at low resolution (4-5Å)
Collect derivative data optimizing parameters at intermediate resolution
Collect for anomalous scattering but choose wavelength carefully
Minimize systematic errors in native comparisons

## Slide 7: Scaling
Can use Native data as reference when internally scaling derivative data (scala)
Methods; Kraut’s method (fhscal), scale + (an)isotropic B (scaleit), local scaling ….
Watch for contrast effects at low resolution especially if no backsoaking was done
Watch for non-isomorphism at higher resolutions

## Slide 8: Scaling
Fhscal Kraut’s method used (equalize Patterson origin).

## Slide 9: Comparison
Check Normal distribution plot (summary in scaleit), Riso and wRiso
Calculate difference Patterson using only reliable data and choose contour levels carefully
Pay attention to Harker sections if there are any
Calculate maps over different resolution intervals
Check anomalous difference Pattersons

## Slide 10: Difference Pattersons
Auto-correlation of the difference between native and “derivative” structures
Array of Harker vectors arising for each site due to spacegroup symmetry
Also cross-vectors between each of the sites
Sites at “special” positions are common

## Slide 11: Difference Patterson

## Slide 12: Non-isomorphism
Binding at crystal contacts
Changes in the unit cell - sometimes !
More significant as resolution increases

## Slide 13: Solving HA sub-structure
For simple diff-Pattersons with Harkers, solve by inspection (cf rsps)
For a handful of sites shelxs (Patterson search or direct methods), or rantan (Direct methods).
More sites ? Shake’n’ Bake
Care needed with reflection selection !

## Slide 14: Shelxs input
Project: autostruct.org
Transparent transfer between packages
CCP4i interfaces for other packages (shelx/xfit etc.)

## Slide 15: Shelxs solution

## Slide 16: Checking Solution
Do the sites refine against the data? (use mlphare with centric zones if possible and refine occupancy)
Are the sites consistent with the diff-Patterson ? (use vectors & graphics display and/or refine with vecref)
Will phases from the sites cross phase another derivative ?

## Slide 17: Refinement of solution

## Slide 18: Cross/self phasing
Similar to difference map: FN-FD,ФBest
Convenient for solution of further derivatives once one or more have been found
Maintains chirality and origin across derivative set
Beware ghost peaks and of pseudo-symmetry!

## Slide 19: Cross phasing of 2nd derivative
Can be done directly within CCP4i interface

## Slide 20: Refinement of sites
Refine sites using reliable data over the resolution interval for which the derivative is isomorphous
Make full use of centric zones (for which Ф is constrained to 0 or π or ± π/2)
Maintain chirality and use Anomalous data to select correct hand
Monitor lack of closure (eg. Cullis R)

## Slide 21: Refinement of all derivatives
Choose correct hand using anomalous occupancy

## Slide 22: Initial phasing
Ensure all significant sites are accounted for
Calculate phases for all of the reflections which have a derivative measurement
Beware of common sites
Beware of correlated non-isomorphism
Avoid overestimation of the FOM’s - this will compromise density modification

## Slide 23: Initial phases
Most important to have correct FOM’s as these influence subsequent phase improvement.

## Slide 24: Initial (MIRAS) map

## Slide 25: Density Modification
Use heavy atom sites to identify any Non-crystallographic symmetry
Beware of any large atoms already present in the protein - may need to truncate density interval for envelope determination if this is the case
Use all available modification techniques and check for solvent boundaries and secondary structure elements

## Slide 26: Solvent flattening
MIRAS phases input to dm

## Slide 27: Solvent flattened map

## Slide 28: NCS averaging
Operators from HA sites – findncs/professs.
Mask from sites (ncsmask) or automatically from dm.

## Slide 29: NCS averaged (phase extended) map

## Slide 30: Phase Extension
Extend phases to best data resolution
Solvent flattening (solomon/dm) and Histogrammic matching (dm)
Skeletonization(dm)/free atom modelling
NCS/multi-crystal averaging (dm/dmmulti)
Automated secondary structure search (fffear)

## Slide 31: Associated/Related methods
SIRAS - hand ambiguity overcome by analysing density maps (sapi/oasis)
MAD – eg. on a derivitized crystal too non-isomorphous for SIRAS
One wavelength anomalous scattering (sapi/oasis)